### **chest: routine wo**

application various, small nodules, subtle radiographic abnormalities

landmarks apices through adrenal glands

oral —

IV —

rate —

delay —

image order axial: cranial → caudal

coronal: anterior → posterior

sagittal: right → left

comments submit 2.5 x 2.5 mm axial, coronal, and sagittal images using standard algorithm (no thicker than 3 mm)

submit 1.25 x 1.25 mm axial lung algorithm

**patient’s arms up. If unable to raise arms, please document reason**

approved, body subcommittee 6/11/24