### **brain wo**

application CVA, intracranial bleed, trauma, headache, syncope, etc

landmarks ~1 cm below skull base to ~1 cm above vertex, arranged 15 degrees cephalic to orbito-meatal line if required

acquisition helical

oral —

IV —

rate —

delay —

image order axial: cranial → caudal

coronal: anterior → posterior

sagittal: right → left

comments submit 2.5 x 2.5 mm axial, coronal and sagittal images using brain algorithm (no thicker than 3 mm)

submit 3 x 3 mm axials using bone algorithm

approved, neuroradiology subcommittee 5/27/24