**synergyrad.org**

|  |  |
| --- | --- |
| **RENAL** |  |
| **PLANE** | **SEQUENCE** | **ST/G** | **COMMENTS** |
| COR | T2 SSTSE BH | 5/1 mm | Liver through lowest renal contour |
| AX | T2 SSTSE BH | 5/1 mm |  |
| SAG | T2 SSTSE BH | 5/1 mm |  |
| COR | T2 TSE RT | 5/1 mm | Liver through lowest renal contour |
| AX | T2 TSE RT | 5/1 mm | Could combine with Dixon |
| AX | T2 TSE FS RT | 5/1 mm | Could combine with Dixon |
| AX | T1 IP/OP | 5/1 mm | Liver through lowest renal contour |
| AX | T1 3D THRIVE\*\* | 4/2 mm | Pre, 30 sec, 60sec, 3 min Overlapping 4x2 mm |
| COR | T1 3D THRIVE | 4/2 mm | 3 min Overlapping 4x2 mm |
| AX | DWI | 6/0.5 mm | b values: 0, 50, 1000 |
| AX | dADC |  |  |

\*\* Please also submit subtraction images for every post contrast phase.