

LIVER - Eovist

|  |  |  |  |
| --- | --- | --- | --- |
| **PLANE** | **SEQUENCE** | **ST/G** | **COMMENTS** |
| COR | T2 SSTSE BH | 6/0.5 mm |  |
| AX | T2 SSTSE BH | 6/0.5 mm |  |
| SAG | T2 SSTSE BH | 6/0.5 mm |  |
| AX | T1 IP/OP | 6/0.5 mm |  |
| AX | T1 3D THRIVE | 6/3 mm | PRE  Overlapping 6x3 |
| AX | T1 3D THRIVE | 6/3 mm | POST 30 sec, 1 min, 3 min Overlapping 6x3 |
| COR | T1 3D THRIVE | 6/3 mm | POST 5 min Overlapping 6x3 |
| AX | T2 TSE SPAIR RT | 6/0.5 mm |  |
| COR | T2 SPAIR RT | 6/0.5 mm |  |
| AX | T1 3D THRIVE | 6/3 mm | POST 20 min Overlapping 6x3 |
| AX | DWI |  | b values: 0, 50, 1000 |
| AX | ADC |  |  |